## Data Sources Register
Data Category | Document Title / Dataset | Issuing Organization | Publication / Effective Date | Version | Official URL / Access | Technical Usage in SolarCalc LK
Electricity Tariffs | Final Decision Document on Electricity Tariff Revision January 2025 | Public Utilities Commission of Sri Lanka (PUCSL) | 2025-01-18 | 2025 Revision 1 | https://www.pucsl.gov.lk | Defines domestic tiered rates (0-30, 31-60, 61-90, 91-120, 121-180, >180), fixed charges, and net-consumption billing for prosumers
Rooftop Solar Tariffs | Tariff Announcement for Rooftop Solar PV Systems | Ceylon Electricity Board (CEB) | 2023-10-01 (Ongoing) | Cabinet Ref 02-05-2023 | https://www.ceb.lk | Provides export purchase rate of 44.14 LKR/kWh for systems <=20 kW and 43.02 LKR/kWh for 20-100 kW under Net Accounting/Net Plus
Solar Resource (GIS) | Global Solar Atlas (GSA) v2.0 Sri Lanka Dataset | World Bank Group / ESMAP / Solargis | 2020 | v2.8 | https://globalsolaratlas.info | Provides 30-arc-sec (~1km) raster ASCII grid of PVOUT (annual & 12-month specific yields), GHI, and optimum tilt OPTA
Secondary Solar Data | NASA POWER Agroclimatology & Solar API | NASA Langley Research Center | 2024 | v2.0 | https://power.larc.nasa.gov | Validation benchmark for monthly daily insolation and ambient temperature cross-checking
RTSPV Grid Guidelines | Guidelines on Rooftop Solar PV Installation for Solar Service Providers | PUCSL | 2022-09-01 | Revision 1 | https://www.pucsl.gov.lk | Specifies interconnection standards, DC isolation, AC circuit protection, inverter labeling, and utility approval requirements
Equipment: Solar Panels | Photovoltaic Module Manufacturer Datasheets (EGing, SunPower, Qcells, BiMAX) | EGing PV, SunPower Maxeon, Hanwha Qcells, SunEvo | 2021-2024 | STC Verified | Official Manufacturer Portals | Electrical parameters (Pmp, Voc, Isc, Vmp, Imp, temp coefficients, dimensions) for real sizing & stringing
Equipment: Inverters | Grid-Tied String Inverter Datasheets (Sungrow, GoodWe, SOFAR, Solis) | Sungrow Power, GoodWe Power Supply, SOFAR Solar, Ginlong Solis | 2020-2024 | CE/IEC Certified | Official Manufacturer Portals | Inverter AC power ratings, MPPT voltage ranges (Vmin - Vmax), maximum DC input current, and DC/AC ratios